## Sheet1
Type (Equipment/Software/Others) | Name of Equipment (Model No.)/Software (Version No.)/Any Other | Purpose/Uses/Key Application | Full Name of Funding Agency/Institute Fund/Deptt. Fund/DDF/Any Other | Cost (Rs. In Lakhs) | Date of Installation (in dd/mm/yyyy) | Location where Installed
Equipment | E4418B Single Channel EPM series power Meter with 8481A Power Sensor, 10 MHz to 18 MHz -30 to +20 dBm | Power Measurement | MHRD | Approx. 5 Lakh | 2005 | Microwave Lab, Department of Electronics Engineering
Equipment | Spectrum Analyser (9-18 GHz) (FSL18 1300-2502 K18) | Spectrum Analysis | DST | Approx. 10 Lakh | 2009 | Microwave Lab, Department of Electronics Engineering
Equipment | E8257D Analog Signal generator | Microwave Source | Institute fund | Approx. 17 Lakh | 2009 | Microwave Lab, Department of Electronics Engineering
Equipment | Agilent N5221A 10 MHz to 13.5 GHz PNA Network Analyser with 2 ports | Netwok Analysis | DST | Approx. 36 Lakh | 2013 | FIST Lab, Department of Electronics Engineering
Equipment | Agilent Make E4982A LCR Meter: 1 MHz to 3 MHz | LCR measurement | DST | Approx. 28 Lakh | 2014 | FIST Lab, Department of Electronics Engineering
Software | CST Microwave Studio | EM simulation | DST | Approx. 16 Lakh | 2013 | Microwave R&D Lab, Department of Electronics Engineering
Software | HFSS Software | EM simulation | Institute Fund | Approx. 10 Lakh | 2011 | Microwave R&D Lab, Department of Electronics Engineering
Software | IE3D Software | EM simulation | Institute Fund | Approx. 5 Lakh | 2013 | Microwave R&D Lab, Department of Electronics Engineering
Facility | 7 m X 5 m X 3 m Anechoic Chamber | Antenna Measurement | Insitute fund and DST | Approx. 23 Lakh | 2017 | FIST Lab, Department of Electronics Engineering
Equipment | E4418B Single Channel EPM series power Meter with 8481A Power Sensor, 10 MHz to 18 MHz -30 to +20 dBm | Power Measurement | MHRD | Approx. 5 Lakh | 2005 | Microwave Lab, Department of Electronics Engineering
Equipment | Spectrum Analyser (9-18 GHz) (FSL18 1300-2502 K18) | Spectrum Analysis | DST | Approx. 10 Lakh | 2009 | Microwave Lab, Department of Electronics Engineering
Equipment | E8257D Analog Signal generator | Microwave Source | Institute fund | Approx. 17 Lakh | 2009 | Microwave Lab, Department of Electronics Engineering
Equipment | Agilent N5221A 10 MHz to 13.5 GHz PNA Network Analyser with 2 ports | Netwok Analysis | DST | Approx. 36 Lakh | 2013 | FIST Lab, Department of Electronics Engineering
Equipment | Agilent Make E4982A LCR Meter: 1 MHz to 3 MHz | LCR measurement | DST | Approx. 28 Lakh | 2014 | FIST Lab, Department of Electronics Engineering
Software | CST Microwave Studio | EM simulation | DST | Approx. 16 Lakh | 2013 | Microwave R&D Lab, Department of Electronics Engineering
Software | HFSS Software | EM simulation | Institute Fund | Approx. 10 Lakh | 2011 | Microwave R&D Lab, Department of Electronics Engineering
Software | IE3D Software | EM simulation | Institute Fund | Approx. 5 Lakh | 2013 | Microwave R&D Lab, Department of Electronics Engineering
Equipment | Agilent N9925A 10 MHz to 14 GHz Fieldfox handheld Network Analyser with 2 ports | Netwok Analysis | SERB Project Fund | Approx. 16 Lakh | 2015 | Microwave R&D Lab, Department of Electronics Engineering
Equipment | Rhode & Schwartz ZVH 10 MHz to 8 GHz handheld Network Analyser with 2 ports | Netwok Analysis | FRS Project Fund | Approx. 6 Lakh | 2013 | Microwave R&D Lab, Department of Electronics Engineering
Equipment | Damaskos Courtney Resonator 300C (upto 40 GHz) | Dieletric properties measurement | DRDO Project Fund | Approx. 11 Lakh | 2014 | Microwave R&D Lab, Department of Electronics Engineering
Equipment | Electron Beam cum thermal evaporation system | Research | Department of Atomic Energy GOI | 12 | 2019-06-12 | Optical Fiber Sensor Lab, Department of Electronics Engineering
Equipment | Optical Interrogator | Research | Department of Atomic Energy GOI | 15 | 2019-05-04 | Optical Fiber Sensor Lab, Department of Electronics Engineering
Equipment | Spectrophotometer | Research | Council of scientific and Industrial research (CSIR) GOI | 3 | 2020-10-03 | Optical Fiber Sensor Lab, Department of Electronics Engineering
Equipment | White light Source | Research | council of scientific and Industrial research (CSIR) GOI | 2 | 2020-10-03 | Optical Fiber Sensor Lab, Department of Electronics Engineering
Equipment | Analog Intensity Modulator | Research | Indian Space Research Organization (ISRO) GOI | 4.5 | 2018-11-12 | Microwave Photonics Lab, Department of Electronics Engineering
Equipment | Modulator Driver | Research | Indian Space Research Organization (ISRO) GOI | 2 | 2018-12-12 | Microwave Photonics Lab, Department of Electronics Engineering
Equipment | Photodetector | Research | Department of Atomic Energy GOI | 1.5 | 2019-01-02 | microwave Photonics Lab, Department of Electronics Engineering
Equipment | Dip coating unit | Research | Council of scientific and Industrial research (CSIR) GOI | 1 | 2019-12-04 | Optical Fiber Sensor Lab, Department of Electronics Engineering
Equipment | Eleven Lab PCB Fabrication machine | Single/double layer PCB fabrication through milling | TEQIP Fund | Approx. 9.5 | 2012 | Embedded System Lab, Department of Electronics Engineering
Equipment | Optical Spectrum Analyzer | Research | DIT Project | ¥ 270000.00 | 23.06.2005 | Photonics Research Lab, Department of Electronics Engineering
Equipment | Agilent MSO6014A Mixed Signal Oscilloscope | PG/ Research Purpose | Plan Fund | 2372198 | 04.01.2011 | Communication Lab, Department of Electronics Engineering
Equipment | Optical Fiber Fusion Splice Machine with standard accessories | PG/ Research Purpose | MHRD(23)/99-2000/107/E&I | 600000 | 12.12.2001 | Fiber Optic Lab, Department of Electronics Engineering
Equipment | MW 9070B Optical Time domain Reflectometer | PG/ Research Purpose | MHRD(23)/99-2000/107/E&I | 500000 | 12.12.2001 | Fiber Optic Lab, Department of Electronics Engineering
Equipment | S T Series Optical Table consisting of Smart Table Top Level, Set of 4, S-2000 Active leveling, Air Compressor, ST Bracket Assembly |  | Project Fund : UGC/302/ECE | 1100000 | 12.07.2014 | Fiber Optic Lab, Department of Electronics Engineering
Software | SILVACO FULL TCAD Omni Bundle (Single Licence) |  | Plan Fund | 1280000
Equipment | APSYS Basic QW Edition- Physical Modelling of Semiconductor devices with manual |  | UGC(73)/2011-12/279/ECE | 2479427 | 02.03.2012 | SAP LAB, Department of Electronics Engineering
Software | Cadence University Bundle 3 Analog & Digital FE & BE for UG Bundle 10 users License |  | Plan Fund | 1003000 | 19.07.2018 | VLSI Lab, Department of Electronics Engineering
Equipment | External Cavity tunable laser source with controller |  | Plan Fund | 1107750 | 17.12.2014 | Fiber Optic Lab, Department of Electronics Engineering
Equipment | DSOX2022A 2 channel |  | Plan Fund | 1410871 | 09.10.2015 | Device Lab, Department of Electronics Engineering
Software | RSOFT CAD V9.0 GUI Software with full wave add-on module single user node locked academic license for windows, RSOFT CAD V9.0 GUI software with FEMSIM add-on module single user node locked academic license for windows xp |  | Plan Fund | 1123500 | 08.01.2014 | In his chamber, Department of Electronics Engineering
Software | SDN simulator | PG-research | DST-SERB | 8.77 | 02.09.2019 | Instrumentation System Design Lab, Department of Electronics Engineering
Equipment | Xilinx Zynq UltraScale+ MPSoC ZCU102 Evaluation Kit | PG Lab | Institute Fund | 5,59,984 | 25/02/2020 | Communication Lab, Department of Electronics Engineering
Equipment | MIMO Software Defined Radio Evaluation Board, AD-FMCOMMS3-EBZ | PG Lab | Institute Fund | 1,64,317 | 43954 | Communication Lab, Department of Electronics Engineering
Equipment | Workstation, HP-XW2104 | Project Work | Project Fund (DST, SERB) | 1,52,987 | 20.03.2020 | R&D Communication Lab, Department of Electronics Engineering
Equipment | NI USRP solution | PG Lab | FRS fund of Institute | 8,81,685 | 22.11.2013 | R&D Communication Lab, Department of Electronics Engineering
Equipment | MITS PCB Prototyping Machine (Auto Lab) | Research | DST (SERB) | 1995000 | 27.4.2018 | Metamaterial Lab, Department of Electronics Engineering
Equipment | N9925A FieldFox Handheld Microwave Vector Network Analyzer, 9 GHz (Keysight) | Research | Faculty Research Scheme, IIT(ISM) Dhanbad | 710000 | 14.12.4014 | Metamaterial Lab, Department of Electronics Engineering
Equipment | Keysight Technologies E8257D PSG 20 GHz Microwave Analog Signal Generator | Research | DST (SERB) | 1418858 | 26.04.2017 | Metamaterial Lab, Department of Electronics Engineering
Equipment | Keysight 85052D Economy Mechanical Calibration Kit, DC to 26.5 GHz, 3.5 mm | Research | DST (SERB) | 476649 | 27.06.2017 | Metamaterial Lab, Department of Electronics Engineering
Software | Advanced Design System (ADS) | Research | DST (SERB) | 491100 | 03.11.2017 | Metamaterial Lab, Department of Electronics Engineering
Software | Xilinix ISE Design Suite, System edition (25 user license perpetual type) | UG and PG lab | Plan Fund | 97660 | 03.02.2012 | VLSI Lab, Department of Electronics Engineering
Equipment | Genesys Virtex 5 FPGA Development Kit - 10 no | UG and PG lab | Plan Fund | 432090 | 02.05.2012 | VLSI Lab, Department of Electronics Engineering
Software | MATLAB Single User, 1. Curve fitting toolbox - 1, 2. Optimisation tool box - 1, 3. Statistics Toolbox - 1, 4. Symbolic Math toolbox - 1 | Research | DST Project Fund [DST(69)/2012-13/324/ECE] | 84500 | 10.05.2013 | Room 210, Department of Electronics Engineering
Software | Originlab Professional V9.0 Individual Life Time License - 1 No | Research | DST Project Fund [DST(69)/2012-13/324/ECE] | 35870 | 27.05.2013 | Room 210, Department of Electronics Engineering
Software | Five Year Lease of Silvaco Software Tcad Omni, Atlas 2D Framework spices, Blaze, Mixed mode, Luminous, TFT, Quantum Tony Plot, Deck Build devedit | PG lab and Research | Plan Fund | USD 20000 | 02.04.2019 | VLSI Lab, Department of Electronics Engineering